## 0.1.1
ChangeLog for Method "QIAGEN QIAseq RNA Fusion XP Panels"
Start Method | QIASeq RNA Fusion XP Panels_0.1.0
Current Method | QIASeq RNA Fusion XP Panels_0.1.1
[DEPENDENCIES] | included the ODTC Script files "QIAseq RNA Fusion XP Panels_GINIT.xml" and "QIAseq RNA Fusion XP Panels_shortGINIT.xml"
[throughout method] | removed inactivated steps
[throughout method] | removed ChangeLog comments which were leftovers of the template method "QIAseq Targeted DNA Pro Panels"

## 0.1.1_Q1
ChangeLog for Method "QIAGEN QIAseq RNA Fusion XP Panels"
Start Method | QIASeq RNA Fusion XP Panels_0.1.1
Current Method | QIASeq RNA Fusion XP Panels_0.1.1_Q1
[QIAseq RNA Fusion XP Panels.lay] | adjusted positions for [HHS1_QIAseqIndexAdapterPlate1], [HHS1_QIAseqIndexPrimerPlate1], [HHS2_QIAseqIndexAdapterPlate2], [HHS2_QIAseqIndexPrimerPlate2]
[throughout method] | submethod [NGSSTARPREP::ODTC_DownloadProtocol] deaktivated as this is not working for the onsite system

## 0.1.2
ChangeLog for Method "QIAGEN QIAseq RNA Fusion XP Panels"
Start Method | QIASeq RNA Fusion XP Panels_0.1.1
Current Method | QIASeq RNA Fusion XP Panels_0.1.1_Q1
[Method]
>>>Grouping [Setup ODTC] | * correction of var3 in StrConcat4 command from "_short.xml" to "_shortGINIT.xml" in the iF-branch and ".xml" to "_GINIT.xml" in the ELSE-branch.
[_SelectProcesses] | * removed if-statement inactivating the ODTC-Script Download

## 0.1.2_Q
ChangeLog for Method "QIAGEN QIAseq RNA Fusion XP Panels"
Start Method | QIASeq RNA Fusion XP Panels_0.1.2
Current Method | QIASeq RNA Fusion XP Panels_0.1.2_Q1
[throughout method] | rpm for all binding steps (bead and sample mixing) set to 1400
[throughout method] | time for all binding steps (bead and sample mixing) set to 300
[throughout method] | time for all air drying steps set to 600
[throughout method] | rpm for all cleaned library resuspension mixing steps set to 1400
[throughout method] | time for all cleaned library shaking steps set to 300
[throughout method] | time for all cleaned library separation steps set to 300

## 0.1.3
ChangeLog for Method "QIAGEN QIAseq RNA Fusion XP Panels"
Start Method | QIASeq RNA Fusion XP Panels_0.1.2_Q1
Current Method | QIASeq RNA Fusion XP Panels_0.1.3
Date of Changes
[Process4_AdapterLigation] | * changed dispense height during Ligation mastermix dispense from 0 (cLLD) to 0.5 mm | 2023-12-20
[_CalculateAndLoadConsumeables] | * removal of if/else clause in "Plates in stack"-section of process 7 and process 9 to correct the ComfortLid Loading | 2023-12-20

## 0.1.4
ChangeLog for Method "QIAGEN QIAseq RNA Fusion XP Panels"
Start Method | QIASeq RNA Fusion XP Panels_0.1.3
Current Method | QIASeq RNA Fusion XP Panels_0.1.4
Date of Changes
[_SelectProcesses] | * in "deactivated start process" open an if/else clause for t_intPreOrPostSystem = 3 | 2024-01-10
{NGSStarProcesses.smt}
[DATA_TipCounterRead_CustomTips] | * in if/else clause [ "l_strText_Insufficient50s" is NOT equal "No reload of tip type necessary"] introduced logic to prevent repeated carrier unloading on MOA system | 2024-01-10
{NGSStarLoading.smt} | * due to issues identifying the cause for the reported issue with the display of the 1000 TipCountEditor the original files of the NGSStarLoading.smt were replaced with the NGSStarLoading.smt files of the qualified "QIAseq Targeted DNA Pro Panel" method. Issues seems to be fixed. The submethod "Read_InputWorklist_ExcelOrCSVFormat_QIAseqTargetedProPanel" was replaced with "CUSTOMIZED_Read_InputWorklist_ExcelOrCSVFormat_QIAseqRNAFusionXPanels" | 2024-01-10
[CUSTOMIZED_Read_InputWorklist_ExcelOrCSVFormat_QIAseqRNAFusionXPanels] | * changed the description of the submethod (adjusted for different headers necessary) | 2024-01-11

## 0.1.5
ChangeLog for Method "QIAGEN QIAseq RNA Fusion XP Panels"
Start Method | QIASeq RNA Fusion XP Panels_0.1.4
Current Method | QIASeq RNA Fusion XP Panels_0.1.5
Date of Changes
ODTC scripts | Changes affect all previous method versions!!!!
QIAseq RNA Fusion XP Panels_GINIT.xml | * changed Block Start temperature in method "RNAFusionXPPanel_Block37Lid103" from 4°C to 25°C to prevent triggering of method execution error at transition to Process 2 | 2024-01-26
QIAseq RNA Fusion XP Panels_shortGINIT.xml | * changed temperature regime in method "RNAFusionXPPanel_ReverseTranscription_short" to mimic the temperature profile of analog method in QIAseq RNA Fusion XP Panels_GINIT.xml, plateau times set to 1% of FL method. * changed block start temperature in method "RNAFusionXPPanel_Block37Lid103" from 4°C to 25°C to prevent triggering of method execution erroer at transition to process 2 | 2024-01-26
[_SelectProcesses]
Grouping: Evaluate the output of Multiple Choice Dialog for store HSP within ODTC overnight | * introduced Trace to check for booleans t_blnStoreHSPoverNightWithinODTC and t_blnStoreAtRoomTemperature | 2024-01-26
[Process5_SampleCleanup1] | * removed ODCT unload routine in if method execution ends at Process 5 and t_blnStoreHSPoverNightwithinODTC = FALSE | 2024-01-26
[Process7_SampleCleanup2] | * removed ODCT unload routine in if method execution ends at Process 7 and t_blnStoreHSPoverNightwithinODTC = FALSE | 2024-01-26
[_CalculateAndLoadConsumeables] | * corrected number of HSPplates for process 7 | 2024-01-26

## 0.1.6
ChangeLog for Method "QIAGEN QIAseq RNA Fusion XP Panels"
Start Method | QIASeq RNA Fusion XP Panels_0.1.5
Current Method | QIASeq RNA Fusion XP Panels_0.1.6
Date of Changes
[_SelectProcesses] | * introduced radio button dialog to select if Cleanup3 should be performed according to the "Libraries for Illumina"- or "Libraries for IONTorrent" workflow | 2024-01-30
[_CalculateAndLoadConsumeables] | * introduced if/else clause in Volumes and Consumeables definition for Process 9 to allow for distinction between Illumina and IONTorrent style | 2024-01-30
{NGSStarProcesses.smt} | * introduction of new submethod "CUSTOMIZED_Process_Cleanup_MPH_MOA_P9IonTorrent" | 2024-01-30
{NGSStarProcesses.smt} | * introduction of new submethod "CUSTOMIZED_Process_Cleanup_MPH_P9IonTorrent" | 2024-01-30
{NGSStarProcesses.smt} | * introduction of new submethod "CUSTOMIZED_Process_Cleanup_P9IonTorrent" | 2024-01-31
{NGSStarProcesses.smt} | * removed the following submethods: Process_Cleanup_MPH_MOA_P8, Process_Cleanup_MPH_P8Qiagen, Process_Cleanup_MPH_P8; Process_Cleanup_P8; Process_Cleanup_P8Qiagen | 2024-01-31
[Process8_UniversalPCR] | *correction of if/else clause at the end of the process when no ODTC is used | 2024-02-02
[Process9_SampleCleanup3] | * introduced if/else clause for the Cleanup processes to allow execution of the respective Illumina-style or IonTorrent-Styles | 2024-01-31
[Process9_SampleCleanup3] | * Prepare a second MIDI plate with Beads in case the IonTorrent-Style cleanup was selected. | 2024-01-30
[Process9_SampleCleanup3] | * Disposal of the additional MIDI plate in case IonTorrent-style was executed. | 2024-01-31
[_onAbort] | * introduction of Dialog asking user if Tip Adapter should be cleaned and introduction of logic to so | 2024-02-02

## 0.1.7
ChangeLog for Method "QIAGEN QIAseq RNA Fusion XP Panels"
Start Method | QIASeq RNA Fusion XP Panels_0.1.6
Current Method | QIASeq RNA Fusion XP Panels_0.1.7
Date of Changes
[_Select Processes] | * changed the lower limit of possible PCR cycles in the UPCR from 18 to 14 | 2024-02-15
[Process5_SampleCleanup1] | * in ELSE-branch of Grouping "Incubation in ODTC or off-deck thermal cycler": Changed 3rd assignement of l_strLastMessage. | 2024-02-14
[Process5_SampleCleanup1] | * in ELSE-branch of Grouping "Incubation in ODTC or off-deck thermal cycler": removed plate transport from CPAC to HSP_Pipette | 2024-02-14
[Process5_SampleCleanup1] | * in ELSE-branch of Grouping "Incubation in ODTC or off-deck thermal cycler": Changed index in if/else clause to check if next process is going to be executed from 5 to 6 and removed all commands from the if-branche as they are not necessary. | 2024-02-15
[Process6_SPETargetEnrichment] | * in ELSE-branch of Grouping "Incubation in ODTC or off-deck thermal cycler": Changed index in if/else clause to check if next process is going to be executed from 6 to 7 | 2024-02-15
[Process7_SampleCleanup2] | * in ELSE-branch of Grouping "Incubation in ODTC or off-deck thermal cycler": Changed index in if/else clause to check if next process is going to be executed from 7 to 8 | 2024-02-15
[Process3_EndRepairdATailing] | * changed ODTC executed in preparation of Process 4 to "RNAFusionXPPanel_Block4Lid75" (previous "RNAFusionXPPanel_KeepBlock4"
ODTC Scripts | *except the Preheating and Prepare Scripts all ODTC scripts are changed to end at 25°C (old scripts are backed up) | 2024-02-20

## 0.1.8
ChangeLog for Method "QIAGEN QIAseq RNA Fusion XP Panels"
Start Method | QIASeq RNA Fusion XP Panels_0.1.7
Current Method | QIASeq RNA Fusion XP Panels_0.1.8
Date of Changes
{NGSStarProcesses} [Trp_HamiltonComfortLid] | * changed gripping height from 3 mm to 5 mm to avoid "sticking" of Lid to the PCR plate after incubations in ODTC | 2024-02-22
ODTC Scripts | * returned to previous ODTC scripts (finishing at 4°C) | 2024-02-22
[_CalculateAndLoadConsumeables] | * increased the Labware DeadVolume for "First Strand Synthesis Mix" from 20 uL to 30 uL and SampleDeadVolume to 20% | 2024-02-22
[_CalculateAndLoadConsumeables] | * increased the Labware DeadVolume for "Second Strand Synthesis Mix" from 20 uL to 35 uL and SampleDeadVolume to 17.5% | 2024-02-22
[_CalculateAndLoadConsumeables] | * increased the Labware DeadVolume for "Ligation Mix" from 30uL to 50 uL and SampleDeadVolume to 10% | 2024-02-22

## 0.1.9
ChangeLog for Method "QIAGEN QIAseq RNA Fusion XP Panels"
Start Method | QIASeq RNA Fusion XP Panels_0.1.8
Current Method | QIASeq RNA Fusion XP Panels_0.1.9
Date of Changes
[_CalculateAndLoadConsumeables] | * increase the container DV for "RP Primer II" from 20 uL to 40 uL and the Tip-DV from 10 uL to 20 uL | 2024-03-06
[_CalculateAndLoadConsumeables] | * introduced if/else brackets to enforce results of Dialog 5 ("Source of RNA"-Dialog) | 2024-03-06
[Process4_AdapterLigation] | * introduced if/else brackets to discard the Comfort Lid if Method executions stops after Process 5. | 2024-03-07
[_SelectProcesses] | * addition of radio button dialog specify source of input material (FFPE? YES/NO) | 2024-03-07
[_SelectProcesses] | * removed definition of l_strBottomTextMessage with cycle recommendations. Changed string in l_arrUnits. | 2024-03-07
[Process6_SPETargetEnrichment] | * introduction of grouping "Mixing QIAseqRNA Fusion XP Panels" | 2024-03-07
[_CalculateAndLoadConsumeables] | * introduciton of grouping "Sequence for mixing of Fusion XP Panels" | 2024-03-07
[Process9_Cleanup3] | * removed / inactivated all logic specific for IonTorrent-like cleanup | 2024-03-07
[_SelectProcesses] | * removed radio button dialog allowing specification of IonTorrent-like cleanup | 2024-03-07
[_CalculateAndLoadConsumeables] | * removed/inactivated Ion Torrent specific Volume and Labware calculation | 2024-03-07